U.S. CUSTOMS AND BORDER PROTECTION

LABORATORY METHODS

CBPL METHOD 40-10

ASTM E 443

Standard Test Method for Sulfur in Organic

Compounds by Oxygen Flask Combustion

SAFETY STATEMENT

This CBPL Method cannot fully address safety issues that may arise from its use.  The analyst is responsible for assessing potential safety issues associated with a given method at its point of use.

Before using this method, the analyst will consider all general laboratory safety precautions.  In particular, the analyst will identify and implement suitable health and safety measures and will comply with all pertinent regulations.

METHOD UNCERTAINTY

The uncertainty of measurement for this method is specific to each laboratory.

0.		SCOPE AND FIELD OF 					APPLICATION

Liquid and solid organic compounds, containing sulfur in their structural formula, can be analyzed for sulfur by the oxygen flask (Schoniger) technique.  The liquid tested has to be nonvolatile at room temperature.  This method may be used as applicable for analysis of commodities provided for in Chapter 40 of the Harmonized Tariff Schedule of the United States (HTSUS).

1.		REFERENCE

1.1		ASTM E 443. “Standard Test Method for Sulfur in Organic Compounds by Oxygen Flask Combustion.”

END