U.S. CUSTOMS AND BORDER PROTECTION

LABORATORY METHODS

CBPL METHOD 72-15

# ASTM E 1019

##### Standard Test Methods for Determination of

##### Carbon, Sulfur, Nitrogen, and Oxygen in

##### Steel and in Iron, Nickel, and Cobalt Alloys

SAFETY STATEMENT

This CBPL Method cannot fully address safety issues that may arise from its use.  The analyst is responsible for assessing potential safety issues associated with a given method at its point of use.

Before using this method, the analyst will consider all general laboratory safety precautions.  In particular, the analyst will identify and implement suitable health and safety measures and will comply with all pertinent regulations.

## METHOD UNCERTAINTY

The uncertainty of measurement for this method is specific to each laboratory.

0.		SCOPE AND FIELD OF 					APPLICATION

These are among the methods that can be used for the determination of carbon (Sections 10 to 19) and sulfur (Sections 20 to 30) in iron and steel in Chapter 72 of the Harmonized Tariff Schedule of the United States (HTSUS).

1.		REFERENCE

1.1		ASTM E 1019.  “Standard Test Methods for Determination of Carbon, Sulfur, Nitrogen, Oxygen in Steel and in Iron, Nickel, and Cobalt Alloys.”

END