U.S. CUSTOMS AND BORDER PROTECTION

LABORATORY METHOD

CBPL METHOD 04-28

Guidelines for Determining Protein Nitrogen Content

in Dairy Products:  Combustion Method

SAFETY STATEMENT

This CBPL Method cannot fully address safety issues that may arise from its use.  The analyst is responsible for assessing potential safety issues associated with a given method at its point of use.

Before using this method, the analyst will consider all general laboratory safety precautions.  In particular, the analyst will identify and implement suitable health and safety measures and will comply with all pertinent regulations.

METHOD UNCERTAINTY

The uncertainty of measurement for this method is specific to each laboratory.

0.		SCOPE AND FIELD OF 					APPLICATION

Certain dairy products are classified in Chapter 4 of the Harmonized Tariff Schedule of the United States (HTSUS).  This method may be used to determine the total protein nitrogen content in dairy products.

1.		REFERENCES

1.1		AOAC 990.03.  “Protein (Crude) in Animal Feed:  Combustion Method.”

## 1.2		CBPL 04-05/AOAC 925.23 “Solids (Total) in Milk.”

## 1.3		CBPL 11-07/AOAC 992.23.  “Crude Protein in Cereal Grains and Oilseeds:  Generic Combustion Method.”

## 2.		NOTES

2.1		Liquid samples should be dried before starting instrumental analysis.  The method cited in 1.2 may be used to dry liquid samples.

2.2		The methods cited in 1.1 and 1.3 are instrumental techniques based on the combustion of nitrogen in pure oxygen and subsequent measurement by thermal conductivity detection.

END