U.S. CUSTOMS AND BORDER PROTECTION

LABORATORY METHODS

CBPL METHOD 17-21

Guidelines for the Determination of

Sugar Content in Prepared Food:  HPLC Method

SAFETY STATEMENT

This CBPL Method cannot fully address safety issues that may arise from its use.  The analyst is responsible for assessing potential safety issues associated with a given method at its point of use.

Before using this method, the analyst will consider all general laboratory safety precautions.  In particular, the analyst will identify and implement suitable health and safety measures and will comply with all pertinent regulations.

METHOD UNCERTAINTY

The uncertainty of measurement for this method is specific to each laboratory.

0.		SCOPE AND FIELD OF 				APPLICATION

The following list of references contains procedures that may prove useful in the determination of sugar content in different prepared food products.  These references may be useful in addressing specific criteria for sugar content as listed in the Harmonized Tariff Schedule of the United States (HTSUS) Chapter 17 using high-performance liquid chromatography.

Equivalent columns may be used and the relative composition of the mobile phase may be adjusted to optimize resolution of peaks.  Additionally, the concentration of the sample and standard analytical solutions may be adjusted so that the concentration of sample is comparable to that of the standard.

1.		REFERENCES

This list is provided for general guidance and should not be considered exhaustive.  The user is expected to seek current references pertaining to this method.

1.1		AACC 80-04.  “Determination of Simple Sugars in Cereal Products—HPLC Method.”  American Association of Cereal Chemists Approved Methods.  St. Paul, MN.

1.2		CBPL 04-10/AOAC 977.20.  “Separation of Sugars in Honey—Liquid Chromatographic Method.”

1.3		CBPL 18-04/AOAC 980.13.  “Fructose, Glucose, Lactose, Maltose, and Sucrose in Milk Chocolate—Liquid Chromatographic Method.”

# 1.4		CBPL 33-08/USP 621.  "Chromatography.”  The United States Pharmacopoeia.

END