U.S. CUSTOMS AND BORDER PROTECTION

LABORATORY METHODS

# CBPL METHOD 29-15

# USP/NF <731>

Loss on Drying

SAFETY STATEMENT

This CBPL Method cannot fully address safety issues that may arise from its use.  The analyst is responsible for assessing potential safety issues associated with a given method at its point of use.

Before using this method, the analyst will consider all general laboratory safety precautions.  In particular, the analyst will identify and implement suitable health and safety measures and will comply with all pertinent regulations.

METHOD UNCERTAINTY

The uncertainty of measurement for this method is specific to each laboratory.

0.		SCOPE AND FIELD OF 					APPLICATION

The procedure outlines general instructions for determining non-volatile/volatile material.  Normally, oven temperature is 105 °C (± 5 °C).  It may be useful in the analysis of goods provided for in Chapter 29 of the Harmonized Tariff Schedule of the United States (HTSUS).

1.		REFERENCE

1.1		USP/NF 731>.  “Loss on Drying.”

END