U.S. CUSTOMS AND BORDER PROTECTION

LABORATORY METHODS

## CBPL 34-10

ASTM E 1252

Standard Practice for General Techniques for

Obtaining Infrared Spectra for Qualitative Analysis

SAFETY STATEMENT

This CBPL Method cannot fully address safety issues that may arise from its use.  The analyst is responsible for assessing potential safety issues associated with a given method at its point of use.

Before using this method, the analyst will consider all general laboratory safety precautions.  In particular, the analyst will identify and implement suitable health and safety measures and will comply with all pertinent regulations.

METHOD UNCERTAINTY

The uncertainty of measurement for this method is specific to each laboratory.

0.		SCOPE AND FIELD OF 					APPLICATION

The standard practice explains briefly several techniques that can be used to obtain infrared spectra for organic chemicals of Chapter 34 of the Harmonized Tariff Schedule of the United States (HTSUS).

1.		REFERENCE

1.1		ASTM E 1252.  “Standard Practice for General Techniques for Obtaining Infrared Spectra for Qualitative Analysis.”

END