U.S. CUSTOMS AND BORDER PROTECTION

LABORATORY METHODS

# CBPL METHOD 39-39

# JIS K 0131

General Rules for X-ray Diffractometric Analysis

# SAFETY STATEMENT

This CBPL Method cannot fully address safety issues that may arise from its use.  The analyst is responsible for assessing potential safety issues associated with a given method at its point of use.

Before using this method, the analyst will consider all general laboratory safety precautions.  In particular, the analyst will identify and implement suitable health and safety measures and will comply with all pertinent regulations.

METHOD UNCERTAINTY

The uncertainty of measurement for this method is specific to each laboratory.

0.		SCOPE AND FIELD OF 					APPLICATION

X-ray diffraction techniques are widely used for determining the identity and structure of materials of Chapter 39 of the Harmonized Tariff Schedule of the United States (HTSUS) including fillers etc.  Japanese Industrial Standard JIS K 0131 (1996) contains basic guidelines for using several of these techniques.

# 1.		REFERENCE

# 1.1		JIS K 0131.  “General Rules for X-ray Diffractometric Analysis.”

# Copies of JIS K 0131 in English can be obtained from Global Engineering Documents, 15 Inverness Way East, Englewood, CO 80112.  Telephone 1-800-854-7179.  Information is also available at http://www.global.ihs.com/.

# 2.		BIBLIOGRAPHY

# This list is provided for general guidance and should not be considered exhaustive.  The user is expected to seek current references pertaining to this method.

# 2.1		ASTM D 934, “Standard Practices for Identification of Crystalline Compounds in Water-Formed Deposits by X-ray Diffraction.”

2.2		ASTM D 5380, “Standard Test Method for Identification of Crystalline Pigments and Extenders in Paint by X-ray Diffraction Analysis.”

# 2.3		Bish, D.L., and Post, J.E. (Editors).  “Modern Powder Diffraction.”  Reviews in Mineralogy, Vol. 20.  Mineralogical Society of America.  Washington, DC.  1989.

# 2.4		Buhrke, V.E., Jenkins, R., and Smith, D.K. (Editors.).  A Practical Guide for the Preparation of Specimens for X-ray Fluorescence and X-ray Diffraction Analysis.  John Wiley & Sons.  New York, NY.  1998.

# 2.5		Chung, F.H., and Smith, D.K. (Editors).  Industrial Applications of X-ray Diffraction.  Marcel Dekker.  New York, NY.  1999.

# 2.6		Cullity, B.D.  Elements of X-ray Diffraction (Second Edition).  Addison-Wesley.  Reading, MA.  1978.

# 2.7		Jenkins, R., et. al.  “JCPDS-International Centre for Diffraction Data Sample Preparation Methods in X-ray Powder Diffraction.”  Powder Diffraction 1:51.  1986.

# 2.8		Jenkins, R. and Snyder, R.L.  Introduction to X-ray Powder Diffraction.  John Wiley & Sons.  New York, NY.  1996.

# 2.9		Klug, H.P. and Alexander, L.E.  X-ray Diffraction Procedures: For Polycrystalline and Amorphous Materials (Second Edition).  John Wiley & Sons.  New York, NY.  1974.

2.10		Zevin, L.S. and Kimmel, G.  Quantitative X-ray Diffractometry.  Springer-Verlag.  New York, NY.  1995.

END