U.S. CUSTOMS AND BORDER PROTECTION

LABORATORY METHODS

CBPL METHOD 50-45

NHM 003

Textiles—Coatings and Impregnations on

Fabrics—Identification by Infrared Spectroscopy

SAFETY STATEMENT

This CBPL Method cannot fully address safety issues that may arise from its use.  The analyst is responsible for assessing potential safety issues associated with a given method at its point of use.

Before using this method, the analyst will consider all general laboratory safety precautions.  In particular, the analyst will identify and implement suitable health and safety measures and will comply with all pertinent regulations.

METHOD UNCERTAINTY

The uncertainty of measurement for this method is specific to each laboratory.

0.		SCOPE AND FIELD OF 					APPLICATION

This NAFTA Harmonized Method (NHM) defines eight procedures for the preparation of samples and use of infrared spectroscopy to determine the composition of coatings and impregnations on textile materials.  This method may be applicable to the analysis of articles classified in Chapter 50 of the Harmonized Tariff Schedule of the United States (HTSUS).

1.		REFERENCE

1.1		NHM 003.  “Textiles—Coatings and Impregnations on Fabrics—Identification by Infrared Spectroscopy.”

END