U.S. CUSTOMS AND BORDER PROTECTION

LABORATORY METHODS

CBPL METHOD 04-24

ASTM D 2800

Standard Test Method for Preparation of Methyl Esters

from Oils for Determination of Fatty Acid Composition

by Gas-Liquid Chromatography

SAFETY STATEMENT

This CBPL Method cannot fully address safety issues that may arise from its use.  The analyst is responsible for assessing potential safety issues associated with a given method at its point of use.

Before using this method, the analyst will consider all general laboratory safety precautions.  In particular, the analyst will identify and implement suitable health and safety measures and will comply with all pertinent regulations.

METHOD UNCERTAINTY

The uncertainty of measurement for this method is specific to each laboratory.

0.		SCOPE AND FIELD OF					APPLICATION

Oils and related products are classified in Chapter 4 of the Harmonized Tariff Schedule of the United States (HTSUS).  Oils from many different sources can be characterized by looking at their fatty acid composition.  In order to use gas chromatography, the fatty acids are converted into their corresponding methyl esters.  This method describes a method for this reaction.

1.		REFERENCE

1.1		ASTM D 2800.  “Standard Test Method for Preparation of Methyl Esters from Oils for Determination of Fatty Acid Composition by Gas-Liquid Chromatography.”

END