U.S. CUSTOMS AND BORDER PROTECTION

LABORATORY METHODS

CBPL METHOD 11-02

Starch Determination in Cereal Products

Using the Modified Ewers' Polarimetric Method

SAFETY STATEMENT

This CBPL Method cannot fully address safety issues that may arise from its use.  The analyst is responsible for assessing potential safety issues associated with a given method at its point of use.

Before using this method, the analyst will consider all general laboratory safety precautions.  In particular, the analyst will identify and implement suitable health and safety measures and will comply with all pertinent regulations.

METHOD UNCERTAINTY

The uncertainty of measurement for this method is specific to each laboratory.

0.		SCOPE AND FIELD OF 					APPLICATION

Note 2A(a) to Chapter 11 of the Harmonized Tariff Schedule of the United States (HTSUS) states that starch content of products from the milling of the cereals listed in Note 2, is determined by the modified Ewers' polarimetric method.  The purpose of the method is to quantitatively determine the starch content of cereal products.

1.		REFERENCES

1.1		Kennedy, J.F., Stevenson, D.L., and Junel, K.  An Objective Illustration of the Inadequacy of the Official EC "Ewers" Method for the Determination of Starch.  Birmingham, England (UK).

1.2		Kennedy, J.F. Stevenson, D.L., and White, C.A.  A Critical Assessment of the Parameters Affecting the Official EC "Ewers" Method for the Determination of Starch.  Birmingham, England (UK).

1.3		Radley, J.A.  Examination and Analysis of Starch and Starch Products.  Applied Science Publishers Ltd.  London.  1976.  Pp. 171-175.

1.4		Analytical Method of Starch.  Central Customs Laboratory Method No. 6 (tentative) No. 15.

2.		EQUIPMENT AND REAGENTS

2.1		Analytical balance capable of determining the mass of the specimen to an accuracy of ±0.0001 gram.

2.2		125-mL Erlenmeyer flasks.

2.3		100-mL volumetric flasks.

2.4		Starch standards of wheat, maize (corn), oat, and rice.

2.5		Hydrochloric acid (HCl), reagent grade, 0.31 M (26 mL concentrated HCl in 1 liter of distilled water).

2.6		Trifluoroacetic acid (TFA), reagent grade 0.30 M (23 mL in 1 liter of distilled water).

2.7		Stirrer/hot plate.

2.8		Sodium phosphotungstate solution, 4% (10 mL required per sample).

2.9		Distilled water.

2.10		Filter paper #5.

2.11		Saccharimeter.

3.		PROCEDURE

3.1		Preparation of standards

3.1.1	Weigh, to the nearest 0.001 gram, 1, 2, 3, 4, and 5 grams of starch standard for the cereal to be tested into the 125 mL flasks.

3.1.2	Add 25 mL of 0.31 M HCl to the flask and shake well.

3.1.3	Slowly wash the neck of the flask with an additional 25 mL of 0.31 M HCl, add a stirring bar, and stir for 2 minutes.

3.1.4	Place the flask in a beaker of boiling water on a stirrer/hot plate and stir for precisely 15 minutes, ensuring that the water continues to boil for the entire 15 minutes.

3.1.5	Immediately cool to room temperature (20 ºC), either by shaking in a water bath or in a sink of water constantly adjusted to 20 ºC.

3.1.6	Transfer the contents of the flask to a 100 mL volumetric flask, wash the flask with three 10 mL volumes of distilled water and add to the volumetric flask.

3.1.7	Add 10 mL of 4% sodium phosphotungstate at 20 ºC to the contents of the volumetric flask and swirl to mix.

3.1.8	Make up to 100 mL with distilled water, cap, and shake.

3.1.9	Filter through a #5 filter paper, discarding the first 15 mL of filtrate.

3.2		Preparation of samples

3.2.1	Weigh, to the nearest 0.001 gram, 5 grams of finely powdered sample into a 125-mL graduated flask.

3.2.2	Add 25 mL of 0.31 M HCl to the flask, cap, and shake well.

3.2.3	Wash the neck of the flask with additional 0.31 M HCl and continue shaking for an additional 2 minutes.  Remove the cap.

3.2.4	Place the flask in a beaker of boiling water on a stirrer/hot plate and stir for precisely 15 minutes ensuring that the water continues to boil for the entire 15 minutes.

3.2.5	Immediately cool to room temperature (20 oC), either by shaking in a water bath or in a sink of water constantly adjusted to 20 oC.

3.2.6	Transfer the contents of the flask to a 100-mL volumetric flask and wash the flask with three 10 mL volumes of distilled water and add to the volumetric flask.

3.2.7	Add 10 mL of 4% sodium phosphotungstate at 20 oC to the contents of the volumetric flask and swirl to mix.

3.2.8	Make up to 100 mL with distilled water, cap, and shake.

3.2.9	Filter through a #5 filter paper, discarding the first 15 mL of filtrate.

3.3		Analysis of the standard and sample solutions.

3.3.1	Immediately wash the flow-through cell on the saccharimeter with 30 mL of the filtrate of each standard and sample prior to filling the cell for a reading.  The flow-through cell requires approximately 50 mL of solution.

3.3.2	Read each value from the saccharimeter.

3.4		Moisture Determination

3.4.1	Conduct Thermal Gravimetric Analysis (TGA) on each standard starch to determine the temperature at which the sample loses moisture.

3.4.2	Dry, to the nearest 0.001 grams, 2 grams of each standard starch sample for two hours in a convection oven set to the temperature determined by TGA in 3.4.1.  Cool the samples in a weighing bottle in a desiccator.  Quickly transfer each of the dried standard starches to the TGA oven and run a TGA to determine whether all of the moisture has been removed.  If no moisture remains, drying for two hours at the temperature determined by TGA will be considered sufficient to dry the product.

If the TGA plot indicates that moisture remains in the standard starch, dry for an additional two hours, cool as indicated previously, and rerun the TGA.  Continue checking at two-hour intervals until all of the moisture is removed.  This new time, which may be different for each starch sample, should be used to dry all future starch standards.

3.4.3	Conduct Thermal Gravimetric Analysis (TGA) on each unknown sample to determine the temperature at which it loses moisture.

3.4.4	Dry, to the nearest 0.001 gram, 2 grams of each unknown sample for a specified time in a convection oven set to the temperature at which that particular sample lost its moisture determined by TGA in 3.4.3.  Cool the samples in a weighing bottle in a desiccator.  Quickly transfer each of the dried samples to the TGA oven and run a TGA to determine whether all moisture has been removed.  If no moisture remains, drying for two hours at the temperature determined by TGA will be considered sufficient to dry the product.

If the TGA plot indicates that moisture remains in the unknown sample, dry for an additional two hours, cool as indicated previously, and rerun the TGA.  Continue checking at two-hour intervals until all of the moisture is removed.  This new time, which will be different for each unknown, should be used to dry all future samples.

3.5		Determination of starch contents.

3.5.1	Calculate the percent moisture in each of the standard starch samples using the following formula:

% Moisture = (A−B)A x 100whereA = Weight (g) of undried sampleB = Weight (g) of dried sample

3.5.2	Calculate the weight of starch, on a dry weight basis, in each of the standard samples using the following formula:

Dry weight (g) of starch = A−ACwhereA = Weight (g) of undried sampleC = % Moisture (from 3.5.1) for each sample

3.5.3	Plot a standard curve of Saccharimeter readings, taken immediately after filtration, at one hour, four hours, and after standing overnight, versus the dry weight of starch in each standard sample.

3.5.4	Calculate the percent moisture in each of the unknowns using the following formula:

% Moisture = (a−b)a x 100wherea = Weight (g) of undried sampleb = Weight (g) of dried sample

3.5.5	Determine the dry weight "d" (grams) of starch in the unknown samples by reading off the standard curve for the particular starch of interest.

3.5.6	Calculate the percent starch on a dry weight basis for each of the unknown samples using the following formula:

% Starch = da−ac)wherea = Weight (g) of undried samplec = % Moisture in unknown (from 3.5.4)d = Weight (g) read from graph

4.		STARCH DETERMINATION USING 		TRIFLUOROACETIC ACID (TFA)

4.1		Repeat Part 3, “Procedure,” using trifluoroacetic acid in place of hydrochloric acid.

4.2		Compare the reproducibility of the method using HCL and TFA.

5.		CORRELATE SACCHARIMETER 			READINGS TO PERCENT 				STARCH

5.1		Plot the saccharimeter reading versus the percent starch for each different type of starch.  From a slope of the line connecting the points, calculate the factor that can be used to multiply the Saccharimeter reading to obtain percent starch directly.

END

If the sample is not in powder form grind in a Wiley Mill.