U.S. CUSTOMS AND BORDER PROTECTION

LABORATORY METHODS

CBPL METHOD 17-01

# ICUMSA GS 1/2/3-1

##### Polarisation of Raw Sugar

SAFETY STATEMENT

This CBPL Method cannot fully address safety issues that may arise from its use.  The analyst is responsible for assessing potential safety issues associated with a given method at its point of use.

Before using this method, the analyst will consider all general laboratory safety precautions.  In particular, the analyst will identify and implement suitable health and safety measures and will comply with all pertinent regulations.

METHOD UNCERTAINTY

The uncertainty of measurement for this method is specific to each laboratory.

0.		SCOPE AND FIELD OF 					APPLICATION

Chapter 17 of the Harmonized Tariff Schedule of the United States (HTSUS) covers sugars and sugar confectionery products.  This method is used to measure the optical rotation of the normal solution of raw sugar as described by Additional U.S. Notes 1 to this chapter.

The precision statement of this method is as follows:  “The absolute difference between two results obtained under repeatability conditions should be not greater than 0.10 degree Z; the absolute difference between two results obtained under reproducibility conditions should be not greater than 0.25 degree Z.”

1.		REFERENCE

1.1		ICUMSA GS 1/2/3-1.  “The Determination of the Polarisation of Raw Sugar by Polarimetry.”

END