U.S. CUSTOMS AND BORDER PROTECTION

LABORATORY METHODS

CBPL METHOD 17-20

# ICUMSA GS 1/2/3-2

##### The Determination of the Polarisation of Raw Sugar

##### Without Wet Lead Clarification

SAFETY STATEMENT

This CBPL Method cannot fully address safety issues that may arise from its use.  The analyst is responsible for assessing potential safety issues associated with a given method at its point of use.

Before using this method, the analyst will consider all general laboratory safety precautions.  In particular, the analyst will identify and implement suitable health and safety measures and will comply with all pertinent regulations.

METHOD UNCERTAINTY

The uncertainty of measurement for this method is specific to each laboratory.

0.		SCOPE AND FIELD OF 					APPLICATION

Chapter 17 of the Harmonized Tariff Schedule of the United States (HTSUS) covers sugars and sugar confectionery products.  This method is used to measure the optical rotation of the normal solution of raw sugars, white sugars, and specialty sugars as described by Additional U.S. Note 1 to this chapter.

1.		SPECIAL CASES

If the sugar solution is too dark to determine the polarization using the normal 26-gram sample in a 200 mm polarimeter tube, one of the following options may be selected:

1.1		The solution may be polarized in a 100 mm or a 50 mm tube and the resulting reading adjusted accordingly.  [1957 USCL Method 1.10.1, Section 3(d).]

1.2		A multiple flask value (multiple of 100 ml) or a convenient fraction of the normal weight (26 grams) may be used, and the resulting polarization reading adjusted accordingly.  (See 2.2, p. 822, Section 34.18.)

2.		REFERENCES

2.1		ICUMSA GS 1/2/3-2.  “The Determination of the Polarisation of Raw Sugar Without Wet Lead Clarification."

2.2		Chen, James C.P., and Chou, Chung-Chi.  Cane Sugar Handbook:  A Manual for Cane Sugar Manufacturers and Their Chemists.  12th Edition.  Wiley and Sons.  New York.  1993.

END