U.S. CUSTOMS AND BORDER PROTECTION

LABORATORY METHODS

CBPL METHOD 18-12

Gas-Chromatography

Fatty Acid Methyl Ester (GC FAME) Profile:

Other Vegetable Fat Determination

SAFETY STATEMENT

This CBPL Method cannot fully address safety issues that may arise from its use.  The analyst is responsible for assessing potential safety issues associated with a given method at its point of use.

Before using this method, the analyst will consider all general laboratory safety precautions.  In particular, the analyst will identify and implement suitable health and safety measures and will comply with all pertinent regulations.

METHOD UNCERTAINTY

The uncertainty of measurement for this method is specific to each laboratory.

0.		SCOPE AND FIELD OF					APPLICATION

Cocoa and cocoa preparations are classified in Chapter 18 of the Harmonized Tariff Schedule of the United States (HTSUS).  HTSUS 1806.20.6000 requires that confectioners' coating contain more than 15 percent vegetable fat other than cocoa butter.  Qualitatively, other vegetable fat can be distinguished from cocoa butter either by determining the "Silver Number” of the fat or by looking at the Fatty Acid Methyl Ester (FAME) profile of the fat.

Typically cocoa butter has a silver number of less than one and coconut or palm kernel oil has a value greater than 20.  Butterfat has a value of about 17, so it may be difficult to determine other vegetable fats in the presence of butterfat.

By acquiring a GC FAME profile, the presence of large amounts (greater than 15 percent) of other vegetable fat can be detected.  The vegetable fats added to make confectioners' coatings are "lauric acid" fats like coconut or palm kernel oils that harden the product.  The FAME profile of such a mixture will have a very significant lauric acid C 12 peak.

Since cocoa butter contains no lauric acid and butterfat contains a much smaller amount of lauric acid, the presence of a large C12 component identifies the fat as containing a vegetable fat other than cocoa butter.

1.		REFERENCES

1.1		CBPL 04-24/ASTM D 2800.  “Standard Test Method for Preparation of Methyl Esters from Oils for Determination of Fatty Acid Composition by Gas-Liquid Chromatography.”

1.2		CBPL 04-25/ASTM D 1983.  “Standard Test Method for Fatty Acid Composition by Gas-Liquid Chromatography of Methyl Esters.”

1.3		CBPL 12-01/AOAC 963.22.  “Methyl Esters of Fatty Acids in Oils and Fats:  Gas Chromatographic Method.”  (AOAC-IUPAC Method.)

END