U.S. CUSTOMS AND BORDER PROTECTION

LABORATORY METHODS

CBPL METHOD 20-02

Deactivated

Acetic Acid Analysis by

High-Performance Liquid Chromatography

SAFETY STATEMENT

This CBPL Method cannot fully address safety issues that may arise from its use.  The analyst is responsible for assessing potential safety issues associated with a given method at its point of use.

Before using this method, the analyst will consider all general laboratory safety precautions.  In particular, the analyst will identify and implement suitable health and safety measures and will comply with all pertinent regulations.

METHOD UNCERTAINTY

The uncertainty of measurement for this method is specific to each laboratory.

0.		INTRODUCTION

The amount of acetic acid is an important factor for the purpose of heading 2001 of the Harmonized Tariff Schedules of the United States (HTSUS) Chapter 20.  This heading includes vegetables, fruits, nuts, and other edible parts of plants, prepared or preserved by vinegar or acetic acid.

According to the HTSUS, the Customs position as to the minimum amount of acetic acid necessary to determine whether a vegetable is prepared or preserved by vinegar or acetic acid was outlined in Headquarters Ruling Letter (HRL) 069121, dated May 20, 1983 (I/A 247/80).  That decision held that a product required a minimum of 0.5 percent acetic acid (subject to allowable tolerances) in the equilibrated product" to be considered as prepared or preserved by vinegar or acetic acid, and this position has continued under HTSUS (See HRL Letters, 085838 dated December 21, 1989 and 952738 dated January 27, 1993).

The approach of an acid titration, which calculates the total acid as acetic acid, may not always be accurate because many products contain not only acetic acid as preservative, but also lactic acid.  It should also be taken into consideration that some vegetables can provide certain amounts of other acids, such as citric acid.

This High Performance Liquid Chroma-tography (HPLC) method will not only be more accurate than the titration method, but also more selective.  This method will make it possible to isolate the acetic acid from other acids and identify and/or quantify all the acids present.

I.		SCOPE AND FIELD OF 					APPLICATION

This method applies to vegetables, fruits, nuts, and other edible parts of plants, prepared or preserved by vinegar or acetic acid.  Common products to be tested are capers, olives, pickles, etc.

2.		REFERENCE

2.1		AOAC 930.35.  “Vinegars.”

3.		REAGENTS AND APPARATUS

During the analysis, unless otherwise stated, use only reagents of recognized analytical grade and only distilled water or water of equivalent purity.

3.1		Acetic acid glacial 99.7% ACS Grade, Aldrich Co.

Prepare a 0.5% by weight Acetic Acid Solution.  (1.0 ml of Acetic Acid in 200ml of water).

3.2		Phosphoric Acid 85-87% ACS Grade, Aldrich Co.

% Acetic Acid = 0.5% * AS * DARS

3.3		Acrodisc LC PVDF 0.45µm filter, Gelman Sciences Co.

3.4		Chromatograph: Hewlett-Packard High Performance Liquid Chromatogram model 1090.

3.5		Detector: Hewlett-Packard UV/Visible variable Detector model 1050 at 210nm.

3.6		Column: Supelcoil LC-18 Column, 25 cm x 4.6 mm.

3.7		Injector: 30-uL loop.

3.8		Mobile phase is 0.1% Phosphoric Acid.

4.		SAMPLE PREPARATION

4.1		Perform a physical separation of the liquid contained in the sample.  The drained liquid will be used for the analysis.

5.		PROCEDURE

5.1		Calibration.

5.1.1	A reference standard should be injected five times using a 0.45µm filter.

5.1.2	Reproducibility on the five injections should be verified by calculating the percentage of relative standard deviation (%RSD) for the five individual peak areas.  The % RSD should not exceed 2%.

5.2		Sample Injection.

5.2.1	Samples should be injected in duplicate with two HPLC runs per analytical sample.  Use a 0.45µm filter during the injection.

6.		EXPRESSION OF RESULTS

  - To calculate the percent weight of acetic acid (by weight):

Where:

ARS	=	the reference standard 			average area from 5.1

D	=	a dilution factor for the 			sample (if any)

AS	=	the area for acetic acid in 			the sample

6.2		To calculate the percent relative standard deviation:

% RSD = standard deviationaverage

7.		BIBLIOGRAPHY

7.1		HPLC Catalog.  “Organic Acids Analysis.”  Supelco Co.”  Page 137.

END