U.S. CUSTOMS AND BORDER PROTECTION

LABORATORY METHODS

CBPL METHOD 20-09

## AOAC 930.35

## Vinegars:  Parts J, K, L

[Acetic Acid in Vegetables, Fruit,

Nuts, and Other Parts of Plants]

SAFETY STATEMENT

This CBPL Method cannot fully address safety issues that may arise from its use.  The analyst is responsible for assessing potential safety issues associated with a given method at its point of use.

Before using this method, the analyst will consider all general laboratory safety precautions.  In particular, the analyst will identify and implement suitable health and safety measures and will comply with all pertinent regulations.

# METHOD UNCERTAINTY

The uncertainty of measurement for this method is specific to each laboratory.

0.		SCOPE AND FIELD OF 					APPLICATION

Vegetables, fruit, nuts and other edible parts of plants prepared or preserved by vinegar or acetic acid are classified in Chapter 20 of the Harmonized Tariff Schedule of the United States (HTSUS) and must contain a minimum of 0.5 percent acetic acid in the equilibrated product.  The specified portions of this method can be used to determine the amount of volatile acid calculated as acetic acid in a prepared sample.

# 1.		REFERENCES

## 1.1		AOAC 930.35.  “Vinegars:  Parts J, “Total Acids”; K, “Nonvolatile Acids”; and L; “Volatile Acids.”

### 1.2		Headquarters Ruling Letter 069121.  May 20, 1983.

END