U.S. CUSTOMS AND BORDER PROTECTION

LABORATORY METHODS

CBPL METHOD 20-10

##### Sample Preparation for Determination of Percent Acetic Acid in Prepared/Preserved Products by Vinegar or Acetic Acid

SAFETY STATEMENT

This CBPL Method cannot fully address safety issues that may arise from its use.  The analyst is responsible for assessing potential safety issues associated with a given method at its point of use.

Before using this method, the analyst will consider all general laboratory safety precautions.  In particular, the analyst will identify and implement suitable health and safety measures and will comply with all pertinent regulations.

METHOD UNCERTAINTY

The uncertainty of measurement for this method is specific to each laboratory.

0.		SCOPE AND FIELD OF 					APPLICATION

Chapter 20 of the Harmonized Tariff Schedule of the United States (HTSUS) covers vegetables, fruits, nuts, and other edible parts of plants prepared or preserved by vinegar or acetic acid.  This method allows the analysts to choose the more suitable approach for the preparation of the test sample based on the type of sample received.

If the percent acidity of the liquid (if any) is determined to be between 0.4 and 0.6 percent acetic acid then the sample should be re-tested based on a liquid and solid component mixture.

1.		REFERENCE

1.1		AOAC 981.12.  "pH of Acidified Food.  Part G: Preparation of Test Samples (a).”

END