U.S. CUSTOMS AND BORDER PROTECTION

#### LABORATORY METHODS

CBPL METHOD 25-01

Minerals and Mineral Products

### SAFETY STATEMENT

This CBPL Method cannot fully address safety issues that may arise from its use.  The analyst is responsible for assessing potential safety issues associated with a given method at its point of use.

Before using this method, the analyst will consider all general laboratory safety precautions.  In particular, the analyst will identify and implement suitable health and safety measures and will comply with all pertinent regulations.

METHOD UNCERTAINTY

The uncertainty of measurement for this method is specific to each laboratory.

0.		INTRODUCTION

The geological identification of building stone is needed for proper tariff classification in Chapter 25 of the Harmonized Tariff Schedule of the United States (HTSUS).  U.S. Customs has ruled that the geological definition of marble (HQ 085266, dated 09/20/89) be used by Customs Officers when classifying this merchandise.  It is also necessary to determine whether or not an article purported to be a natural stone is in fact synthetically produced and if it contains a resin, thus, making it an artificial stone (HQ 956098 dated 05/16/94).

This method is concerned with the analysis of sedimentary, metamorphic, and igneous rocks and minerals.  This method discusses observation, microscopic examination, and instrumental techniques used in the analysis of geologic samples for proper identification.

1.		SCOPE

The procedures discussed in this method involve instrumental analysis (principally X-ray powder diffraction and fluorescence), thin section analysis using polarizing microscopic techniques, observations, and spot tests.  The spot test procedure and observations are normally used in fieldwork and in screening samples in the laboratory.  These techniques are valuable in segregating geologic samples into rock types, i.e., sedimentary, metamorphic, or igneous.

Nine procedures are described:

1)  Sample Screening;

2)  Staining;

3)  Hardness Testing;

4)  Specific Gravity Analysis;

5)  X-ray Powder Diffraction;

6)  X-ray Fluorescence;

7)  Petrographic Analysis;

8)  Refractive Index Determination;

9)  Artificial Stone Analysis.

2.		GENERAL

The procedures stated here are meant to be used as a guide for analysts in identifying rock and mineral samples.  They deal with practices used by scientists when examining rock and mineral samples and it is felt that if the principles listed in this method are followed, a great majority of geologic samples will be correctly identified.  It is important for the analyst to carefully examine the sample and make notations before cutting and grinding.

3.		REAGENTS AND MATERIALS

3.1		Dickson’s Stain.  Prepare two staining solutions:

3.1.1	Solution A.  Alizarin Red S concentration of 0.2 g/100 ml of alizarin red in dilute hydrochloric acid (15 ml of concentrated acid made up to 1 liter with water).

3.1.2	Solution B.  Potassium ferricyanide concentration of 2-g/100 ml of potassium ferricyanide in dilute hydrochloric acid (dilute the acid as in Solution A).

3.1.3	Mix solutions A and B in the proportion 3 parts by volume of A to 2 parts of B.  Note: The solution of Alizarin Red S in acid may be made up beforehand and will keep, but the potassium ferricyanide must be made fresh each time.

3.2		Dilute Hydrochloric Acid (HCl).  Add 20 ml of reagent grade hydrochloric acid to enough water to make a final volume of 1 liter.

3.3		Refractive Index Oils.  A range of 1.400 to 2.000 is sufficient for geologic materials.

4.		APPARATUS

4.1		Diamond and agate mortar and pestle.  (Mortar)

4.2		Hand held lens (usually 10x or 30x) (Lens)

4.3		Analytical balance or a “Jolly Balance.”

4.4		X-ray Powder Diffractometer (XRD) with a current set of diffraction data published by the International Centre for Diffraction Data (ICDD).

4.5		Infrared Spectrophotometer (IR).

4.6		X-ray Fluorescence (XRF) or equivalent for qualitative elemental analysis.

4.7		Diamond cut-off saw with a blade suitable for petrographic sampling.

4.8		Grinding and polishing equipment; for rough grinding, a rotating grinder suitable for petrographic work; for fine grinding, a petrographic hand grinder or equivalent.

4.9		Abrasive papers:  320, 400, and 600 grit for rough grinding.

4.10		Alumina slurry 5-10 microns and polishing cloths.

4.11		Polarizing Light Microscope (PLM).

5.		SAMPLING AND SAMPLES

5.1		Laboratory Sample.  The sample received in the Customs laboratory is from a shipment of imported merchandise, therefore, the analyst does not have an opportunity to study the geologic region where the sample originated.  Often it is extremely difficult to make determinations such as whether a specimen is metamorphic or sedimentary based on one small sample.

5.2		Test Sample.  The sample taken for individual testing in the laboratory should be representative of the sample received.  Screening and observations should be made prior to any cutting or grinding operations.

6.		PROCEDURE

6.1		Sample Screening

6.1.1	Visually examine the sample for evidence of foliation, fossils, and other features that may aid in classifying as sedimentary, metamorphic, or igneous.

6.1.2	Also note whether or not the specimen is polished and if bevels are present.

6.2		Staining.  The sample should not be ground so that the analyst can study the reaction of the stain (or acid) on the surface of the sample.

6.2.1	Place a few drops of Dickson’s stain (or dilute hydrochloric acid) on the surface of the sample.

6.2.2	A carbonate mineral such as limestone or marble will effervesce rapidly when treated with the hydrochloric acid solution.  Dolomite will also react, but at a much slower rate than limestone or marble.  Silicate minerals will not react with hydrochloric acid.

6.2.3	The following is a guide to be used for making a preliminary determination using Dickson’s stain:

Sample Reaction			Stain/HCl

Carbonates (marble,		Red/bubbles 	limestone, travertine)		(rapid)

Dolomite					Red/bubbles 								(slow)

Basalt, and other			No reaction

non-carbonaceous

minerals

6.3		Hardness Testing.  Hardness testing is based on the Moh’s hardness system, which rates the relative hardness of individual minerals from the softest to the hardest.  The softest (talc) is given the number 1 and the hardest (diamond) is given the number 10.  The following substances are most commonly tested for hardness: mica (2 to 2.5), calcite (3), dolomite (4), serpentine (4), potassium feldspar (5.5 to 6), and quartz (7).  There are two methods used for determining hardness:

6.3.1.1	A penny, a glass slide, and a good quality triangular file can be used to evaluate hardness.  They have hardness values of 3, 5 to 5.5, and 6 to 6.5, respectively.  The file should be broken so that a triangular corner of the ridged portion can be used for scratching the sample.

6.3.1.2	Scratch the surface of the penny with the test sample then wipe away the powdered residue.

6.3.1.3	Observe the scratch (if one is present).  If a deep scratch is easily made, the hardness is well in excess of 3.  Likewise, if a mark is barely (or not at all) visible, the hardness is close to 3.  If the test sample can be scratched using a fingernail the hardness is 2 or less.  If the test sample scratches the penny easily, then use the glass slide.  If the sample scratches the slide easily, then it is one of the relatively few minerals having a hardness value of 7 or more.  Next, scratch the test sample using the file.  If only faint scratches appear, the hardness is 5.5 to 6.  If the penny scratches, but the glass slide does not, the hardness is approximately 4.

6.3.2	Hardness pencils are commercially available through earth science supply houses.  The pencils are used to scratch the test sample to determine the appropriate hardness value.  Hardness values for all minerals are given in mineralogy books.

6.4		Specific Gravity.  Specific gravity is necessary for the provisions specified in Chapter 25 of the HTSUS covering marble, travertine, or other calcareous building stone.  (It is also useful in separating and identifying minerals; for example, the specific gravity of calcite is 2.72 and that of dolomite is 2.85.)  There is a listing of specific gravity values for various minerals in the Manual of Mineralogy, (7.7, page 564).

Travertine is formed by the precipitation of calcium carbonate from solutions of hot mineral water, therefore, it can be very porous and not yield a value that is consistent.  Other analytical techniques, such as microscopical analysis, will be more definitive.

6.4.1	The sample taken should be from an area that is homogeneous.  The sample should not contain any cracks or cavities where air bubbles could form causing erroneous determinations.

6.4.2	Weigh approximately one cubic centimeter of the sample in air (Wa).

6.4.3	Weigh the sample in water (Ww).

6.4.3	The calculation is as follows:

Wa     = Specific Gravity

Wa-Ww

6.5		X-ray Diffraction.

6.5.1	Grind a representative portion of the sample in a mortar (or a grinding apparatus such as a shatter box).

6.5.2	After grinding to a fine powder, screen the sample through a 200 um screen and transfer the sample to a sample holder.

6.5.3	Care must be taken in tapping the sample into the holder using a razor blade.  Preferred orientation may occur.  There are other acceptable techniques such as mounting the sample on tape or using silica gel.  Each analyst should use the technique that gives the best result.

6.5.4	Testing parameters such as voltage and milliampere settings vary with the make of the instrument used.  The analyst should consult the manual of the instrument being used for the recommended settings.

6.5.5	Samples composed of essentially one compound can be identified by using the ICDD file.

6.6		X-ray Fluorescence.  In instances where there are several minerals present or if the analyst has difficulty in identifying the sample, it may be beneficial to perform a qualitative analysis in order to determine the elements present.

6.7		Polarizing Light Microscopy.  When analyzing complex systems such as igneous rocks, it becomes necessary to separate the various minerals in order to identify the type of rock.  It is then that microscopic techniques involving thin section examination and refractive index determinations are used.

6.7.1	Prepare a thin section by cutting a one-inch square approximately 1/8 inch thick using the diamond saw.

6.7.2	Mount the specimen to a labeled glass slide using epoxy.  Press and level the sample on the slide and allow to cure.  Care must be taken when preparing the epoxy and mounting the sample to ensure that air bubbles are not present.

6.7.3	Place the slide in a slide holder and grind the sample using the grinding papers until a thickness of approximately 50 microns is reached.

6.7.4	After rough grinding, the sample is then cleaned in an ultrasonic cleaner.

6.7.5	Fine grind the sample to 30 microns using the alumina slurry in distilled water.  Instructions for diluting are located on the bottle containing the alumina.  Use a hand polisher with a nylon or silk polishing cloth (3).  The slide is then ready for PLM analysis.

6.7.6	The analyst should take careful notes of observations made and where possible take photomicrographs and carefully document the photographs (magnification, whether crossed polarizers were used, etc.).

6.8		Refractive Index Determination.  This method is not applicable to carbonate rocks.  Mineralogy books list refractive indices of minerals along with other properties, such as chemical composition, etc.  The method calls for using a refractive index oil with a low value and one with a high value, then systematically narrowing the gap until the correct value of the unknown is reached.  Care must be taken that a single compound of homogeneous crystallinity is used.

6.8.1	Grind a portion of the sample using a mortar and pestle.  (If the sample is hard and relatively large, it may be necessary to break it into small pieces using a diamond mortar.)

6.8.2	If the mineral is a complete unknown, select an oil in the middle of the range.  Place a few crystals on a glass slide and allow a drop of the oil to fall on the crystals, being careful not to touch the crystals to the dropper as this will contaminate the dropper and thus contaminate the oil.  When using this method one must be sure to mark on the slide the value of the refractive index oil that is being used.

6.8.3	Place the slide under a microscope and bring the specimen into focus.

6.8.4	As the stage is lowered, a bright line will appear to surround the crystal.  This line will move into either the sample or the surrounding medium.  (This line is referred to as the “Becke line.”)  When the stage is lowered and the line moves into the crystal, then the crystal has a higher refractive index than the oil.  If the line moves into the oil, the oil has a higher refractive index than that of the crystal.  Observe the crystal, if it appears to have a clearly defined sharp outline and a great deal of relief, then the index of refraction of the oil is much different than that of the crystal.

6.8.5	After a starting point has been established, place crystals on several glass slides and repeat the procedure.  When the indices of refraction of the oil and the crystal are equal, the crystal will appear to disappear under magnification.

6.9		Artificial Stone Analysis.  If a sample is suspected of containing an organic binder, separating the organic compound from the inorganic can be accomplished by using pyrolysis.

6.9.1.1	Grind a portion of the sample in a mortar and place it in a small test tube.

6.9.1.2	Heat the test tube over a flame and allow the fumes from the binder to condense on a potassium bromide (KBr) or suitable disk for IR analysis.

6.9.2	The sample may also contain an inorganic binder.  Identification may be difficult, as the material may closely resemble natural breccias or conglomerates.  The first step is to identify the aggregate particles as their compositions and weights must be subtracted when quantitative determinations of an inorganic binder are called for.  Aggregate compositions may be determined by the means already discussed, such as thin section analysis.  Thin sections are also useful in determining the composition of the fines intimately mixed with the binder.  Binders are usually cementitious and give off large quantities of water when heated in a test tube.

While carbonate rock natural breccias contain abundant water, their cementing material is ordinarily banded.  In addition, the natural breccias cementing material is composed of calcite, which is identifiable by, thin section.  Natural volcanic breccias are anhydrous.  Natural conglomerates contain rounded aggregate particles, but may contain various binder materials, which may be determined by XRD or thin section analysis.  Natural brecciated serpentines are cemented with crystalline calcite.

Cured portland cement contains portlandite (calcium hydroxide), which can be identified by XRD.  It is also characterized by high calcium content as determined by XRF.  Pozzolan and slag cements may or may not contain portlandite, but they contain alumina and higher silica percentages than portland cements.  Aluminous cements contain very little silica.  Sorel cements are characterized by high magnesium and low calcium contents.

7.		BIBLIOGRAPHY

This list is provided for general guidance and should not be considered exhaustive.  The user is expected to seek current references pertaining to this method.

7.1		Adams, A.E., Mackenzie, W. S., and Guilford, C.  Atlas of Sedimentary Rocks Under the Microscope.  John Wiley & Sons.  New York.  1984.

7.2		Bragg, L. and Claringbull.  G. F.  Crystal Structures of Minerals.  G. Bell & Sons, Ltd.  London.  1965.

7.3		Buehler Digest.  Vol. 24, No. 1.

7.4		Dana, J. D.  A System of Mineralogy (Seventh Edition).  Vol. 1.  John Wiley & Sons.  New York.  1944.

7.5		Deer, W.A., Howie, R.A., and Zussman, J.  An Introduction to the Rock Forming Minerals.  John Wiley & Sons.  New York.  1966.

7.6		Kerr, P.  Optical Mineralogy (Third Edition).  McGraw Hill.  1959.

7.7		Klein, C. and Hurlbut, Jr., C.S.  Manual of Mineralogy (Twentieth Edition).  John Wiley & Sons.  New York, 1985.

Note:  There are several references cited at the end of each chapter.

7.8		McCrone, W. C. and Delly, J.G.  Polarized Light Microscopy.  McCrone Research Institute.  Chicago.  1987.

7.9		Williams, H., Turner, F.J., and Gilbert, C.M.  Petrography.  W. H. Freeman.  San Francisco.  1954.

END