U.S. CUSTOMS AND BORDER PROTECTION

LABORATORY METHODS

CBPL METHOD 25-02

Fluorspar Analysis

SAFETY STATEMENT

This CBPL Method cannot fully address safety issues that may arise from its use.  The analyst is responsible for assessing potential safety issues associated with a given method at its point of use.

Before using this method, the analyst will consider all general laboratory safety precautions.  In particular, the analyst will identify and implement suitable health and safety measures and will comply with all pertinent regulations.

METHOD UNCERTAINTY

The uncertainty of measurement for this method is specific to each laboratory.

0.		SCOPE AND FIELD OF 					APPLICATION

Fluorspar is provided for in Chapter 25 of the Harmonized Tariff Schedule of the United States (HTSUS).  Classification is dependent upon the weight percent of calcium fluoride present.  The recommended U.S. Customs and Border Protection Method for the determination of the weight percent of calcium fluoride present in fluorspar is the method presented in the reference cited (1.1).

1.		REFERENCE

1.1		National Bureau of Standards [sic]:  Certificate of Analysis.  “Standard Reference Material 79A—Flurospar, Customs Grade.”  National Institute of Science and Technology (NIST).  1971 (Updated 2007).

NOTE:  The certificate is available online:  https://srmors.nist.gov/view_cert.cfm?srm=79A

END