U.S. CUSTOMS AND BORDER PROTECTION

LABORATORY METHODS

CBPL Method 25-04

#### Recommended Guidelines for Inorganic

#### Qualitative and Quantitative Analysis

SAFETY STATEMENT

This CBPL Method cannot fully address safety issues that may arise from its use.  The analyst is responsible for assessing potential safety issues associated with a given method at its point of use.

Before using this method, the analyst will consider all general laboratory safety precautions.  In particular, the analyst will identify and implement suitable health and safety measures and will comply with all pertinent regulations.

METHOD UNCERTAINTY

The uncertainty of measurement for this method is specific to each laboratory.

0.		SCOPE AND FIELD OF 					APPLICATION

The following list of references contains procedures that should prove useful in the qualitative and quantitative analysis of inorganic materials of Chapter 25 of the Harmonized Tariff Schedule of the United States (HTSUS).

1.		REFERENCES

This list is provided for general guidance and should not be considered exhaustive.  The user is expected to seek current references pertaining to this method.

1.1		Feigl, F. and V. Anger.  Spot Tests in Inorganic Analysis.  Elsevier Publishing Co.  Amsterdam.  1972.

1.2		Furman, N.H.  “Determination of Lead in Ore as Lead Chromate,” in Scott’s Standard Methods of Chemical Analysis, Fifth Edition.  Van Nostrand.  New York.  1939.

1.3		Furman, N.H.  “Determination of Manganese in Manganese Ore,” in Scott’s Standard Methods of Chemical Analysis, Fifth Edition.  Van Nostrand.  New York.  1939.

1.4		Furman, N.H.  “Determination of Tungsten in Ore and Concentrates,” in Scott’s Standard Methods of Chemical Analysis, Fifth Edition.  Van Nostrand.  New York.  1939.

1.5		Furman, N.H.  “Procedure for Copper in Ores," in Scott’s Standard Methods of Chemical Analysis, Fifth Edition.    Van Nostrand.  New York.  1939.

1.6		Furman, N.H.  “Zinc Titration in Alkaline Solution,” in Scott’s Standard Methods of Chemical Analysis, Fifth Edition.  Nostrand.  New York.  1939.

1.7		Furman, N.H. and F.J. Welcher.  “Molybdenum Determination by Precipitation as Lead Molybdate,” in Standard Methods of Chemical Analysis, Sixth Edition.  Van Nostrand.  New York.  1963.

1.8		Furman, N.H. and F.J. Welcher.  “Nickel Determination by the Dimethylglyoxime Method,” in Standard Methods of Chemical Analysis, Sixth Edition.  Van Nostrand.  New York.  1963.

1.9		Furman, N.H. and F.J. Welcher.  “Vanadium by Precipitation with Lead Acetate,” in Standard Methods of Chemical Analysis, Sixth Edition.  Van Nostrand.  New York.  1963.

1.10		Slomin, George W.  “Determination of Copper,” in Rapid Quantitative Electrolytic Methods of Analysis, Seventh Edition.  E.H. Sargent & Co.  Chicago.  1947.  McGraw-Hill, New York, 1990.

1.11		 “Iodine,” in The United States Pharmacopoeia.  United States Pharmacopeial Convention, Inc.  Rockville, MD.  1994.

1.12		“Precipitated Calcium Carbonate,” in The United States Pharmacopoeia.  United States Pharmacopeial Convention, Inc.  Rockville, MD.  1994.

1.13		 “Silica Gel,” in The United States Pharmacopoeia.  United States Pharmacopeial Convention, Inc.  Rockville, MD.  1994.

1.14		 “Sulfur, Sublimed or Precipitated,” in The United States Pharmacopoeia.  United States Pharmacopeial Convention, Inc.  Rockville, MD.  1994.

END