U.S. CUSTOMS AND BORDER PROTECTION

LABORATORY METHODS

CBPL METHOD 25-07

NHM

ASTM C 146

Standard Test Methods for Chemical Analysis of Glass Sand

SAFETY STATEMENT

This CBPL Method cannot fully address safety issues that may arise from its use.  The analyst is responsible for assessing potential safety issues associated with a given method at its point of use.

Before using this method, the analyst will consider all general laboratory safety precautions.  In particular, the analyst will identify and implement suitable health and safety measures and will comply with all pertinent regulations.

METHOD UNCERTAINTY

The uncertainty of measurement for this method is specific to each laboratory.

0.		INTRODUCTION

The reference cited (2.1) provides several methods for determining silica and iron oxide as required by Headings 2505.10.10 and 2506.10.00.10 Harmonized Tariff Schedule of the United States (HTSUS).  The method involving the determination of silica by treating with H2SO4 - HF is probably the most suitable.  Iron is determined by a photometric method but this could be revised to employ current instrumental methods.

1.		SCOPE AND FIELD OF 					APPLICATION

This method is applicable not only to glass sands but to any sand composed predominantly of silica.  It is adaptable to varying levels of Si2O3.

2.		REFERENCE

This list is provided for general guidance and should not be considered exhaustive.  The user is expected to seek current references pertaining to this method.

###### 2.1		ASTM C 146.  “Standard Test Methods for Chemical Analysis of Glass Sand.”

END