U.S. CUSTOMS LABORATORY METHODS

- USCL METHOD 25-28

- Guidelines for X-ray Diffraction Analysis

Japanese Industrial Standard JIS K 0131-1996,

“General Rules For X-ray Diffractometric Analysis”

# SAFETY PRECAUTIONS

This method does not purport to address all of the safety problems, if any, associated with its use.  It is the responsibility of the user of this method to establish appropriate safety and health practices and to determine the applicability of regulatory limitations prior to its use.

0.		SCOPE & FIELD OF APPLICATION

X-ray diffraction techniques are widely used for determining the identity and structure of crystalline materials.  Japanese Industrial Standard JIS K 0131-1996 contains basic guidelines for using several of these techniques.

- 1.		REFERENCES

- 1.1		Availability of JIS K 0131-1996: Copies of this standard in English can be obtained from Global Engineering Documents, 15 Inverness Way East, Englewood, CO 80112.  Telephone 1-800-854-7179.  Information is also available at www.global.ihs.com.

1.2		OTHER SOURCES OF 					INFORMATION

- 1.2.1	B. D. Cullity, Elements of X-ray Diffraction, 2nd ed., Addison-Wesley, Reading, MA, 1978.

- 1.2.2	R. Jenkins and R. L. Snyder, Introduction to X-ray Powder Diffraction, John Wiley & Sons, New York, NY, 1996.

- 1.2.3	H. P. Klug and L. E. Alexander, X-ray Diffraction Procedures, 2nd ed, John Wiley & Sons, New York, NY, 1974.

- 1.2.4		D. L. Bish and J. E. Post, eds., “Modern Powder Diffraction,” Reviews in Mineralogy, vol. 20, Mineralogical Society of America, Washington, DC, 1989.

- 1.2.5	L. S. Zevin and G. Kimmel, Quantitative X-ray Diffractometry, Springer-Verlag, New York, NY, 1995.

- 1.2.6	V. E. Buhrke, R. Jenkins, and D. K. Smith, eds., A Practical Guide for the Preparation of Specimens for X-ray Fluorescence and X-ray Diffraction Analysis, John Wiley & Sons, New York, NY, 1998

- 1.2.7	F. H. Chung and D. K. Smith, eds., Industrial Applications of X-ray Diffraction, Marcel Dekker, New York, NY, 1999.

- 1.2.8	R. Jenkins, et. al., “JCPDS-International Centre for Diffraction Data Sample Preparation Methods in X-ray Powder Diffraction,” Powder Diffraction, 1, 51 (1986).

- 1.2.9	ASTM D 934:  “Standard Practices for Identification of Crystalline Compounds in Water-Formed Deposits by X-ray Diffraction.”

1.2.10	ASTM D 5380: “Standard Test Method for Identification of Crystalline Pigments and Extenders in Paint by X-ray Diffraction Analysis.”

END