U.S. CUSTOMS AND BORDER PROTECTION

LABORATORY METHODS

CBPL METHOD 26-01

ASTM E 246

Standard Test Methods for Determination of Iron in

Iron Ores and Related Materials by Dichromate Titration

SAFETY STATEMENT

This CBPL Method cannot fully address safety issues that may arise from its use.  The analyst is responsible for assessing potential safety issues associated with a given method at its point of use.

Before using this method, the analyst will consider all general laboratory safety precautions.  In particular, the analyst will identify and implement suitable health and safety measures and will comply with all pertinent regulations.

METHOD UNCERTAINTY

The uncertainty of measurement for this method is specific to each laboratory.

0.		SCOPE AND FIELD OF 					APPLICATION

This method covers the determination of total iron in iron ores, concentrates, and agglomerates in the concentration range from 30 to 75 percent.  This method is suitable for analysis of commodities provided for in Chapter 26 of the Harmonized Tariff Schedule of the United States (HTSUS).

1.		REFERENCE

1.1		ASTM E 246.  “Standard Test Methods for Determination of Iron in Iron Ores and Related Materials by Dichromate Titration.”

END