U.S. CUSTOMS AND BORDER PROTECTION

LABORATORY METHODS

CBPL METHOD 26-03

ASTM E 945

Standard Test Method for Determination of Zinc in

Zinc Ores and Concentrates by Complexometric Titrimetry

SAFETY STATEMENT

This CBPL Method cannot fully address safety issues that may arise from its use.  The analyst is responsible for assessing potential safety issues associated with a given method at its point of use.

Before using this method, the analyst will consider all general laboratory safety precautions.  In particular, the analyst will identify and implement suitable health and safety measures and will comply with all pertinent regulations.

METHOD UNCERTAINTY

The uncertainty of measurement for this method is specific to each laboratory.

0.		SCOPE AND FIELD OF 					APPLICATION

This method covers the procedures for the chemical analysis of zinc ores, concentrates, and related materials by ethylene diamine tetraacetic acid (EDTA) titration method in the concentration range from 5 to 70 percent.  This method is suitable for analysis of zinc provided for in Chapter 26 of the Harmonized Tariff Schedule of United States (HTSUS).

1.		REFERENCE

## 1.1		ASTM E 945.  “Standard Test Method for Determination of Zinc in Zinc Ores and Concentrates by Complexometric Titrimetry.”

END