U.S. CUSTOMS AND BORDER PROTECTION

LABORATORY METHODS

CPBL METHOD 27-01

ASTM D 287

Standard Test Method for API Gravity of Crude Petroleum and

Petroleum Products (Hydrometer Method)

## SAFETY STATEMENT

This CBPL Method cannot fully address safety issues that may arise from its use.  The analyst is responsible for assessing potential safety issues associated with a given method at its point of use.

Before using this method, the analyst will consider all general laboratory safety precautions.  In particular, the analyst will identify and implement suitable health and safety measures and will comply with all pertinent regulations.

METHOD UNCERTAINTY

The uncertainty of measurement for this method is specific to each laboratory.

0.		SCOPE AND FIELD OF 					APPLICATION

This method covers the determination by glass hydrometer of the API gravity of crude petroleum and petroleum products normally handled as liquids and having a Reid vapor pressure of 26 psi or less.  The API gravity is measured at a given temperature and converted to values at 60oF by means of standard tables.

This method is applicable in the classification of crude petroleum oils and crude oils obtained from bituminous minerals (e.g., from shale, calcareous rock, sand).  Crude petroleum oils and crude oils are classifiable according to their API gravity in the Harmonized Tariff Schedule of the United States (HTSUS) under the heading 2709.

Accurate determination of the API gravity of crude petroleum oils and petroleum products is necessary for conversion of measured volumes to volumes at the standard temperature of 60oF.  API gravity is also an important factor that determines the quality of crude oils.

1.		REFERENCE

1.1		ASTM D 287.  “Standard Test Method for API Gravity of Crude Petroleum and Petroleum Products (Hydrometer Method).”

END