U.S. CUSTOMS AND BORDER PROTECTION

LABORATORY METHODS

CBPL METHOD 27-06

ASTM D 473

Standard Test Method for Sediment in Crude

Oils and Fuel Oils by the Extraction Method

SAFETY STATEMENT

This CBPL Method cannot fully address safety issues that may arise from its use.  The analyst is responsible for assessing potential safety issues associated with a given method at its point of use.

Before using this method, the analyst will consider all general laboratory safety precautions.  In particular, the analyst will identify and implement suitable health and safety measures and will comply with all pertinent regulations.

METHOD UNCERTAINTY

The uncertainty of measurement for this method is specific to each laboratory.

0.		SCOPE AND FIELD OF					APPLICATION

This method covers the determination of sediment in crude oil and fuel oils by extraction with toluene. The extracted residue is calculated in percent unit mass, and reported as “sediment by extraction.”  The amount of water and sediment (S & W) in crude oil is deductible from the gross standard volume (GSV) to obtain the net observed volume (NSV).  The method is applicable to commodities provided for in Chapter 27 of the Harmonized Tariff Schedule of the United States (HTSUS).

1.		REFERENCE

1.1		ASTM D 473.  ”Standard Test Method for Sediment in Crude Oils and Fuel Oils by the Extraction Method.”

END