U.S. CUSTOMS AND BORDER PROTECTION

LABORATORY METHODS

CBPL METHOD 27-07

ASTM D 4807

Standard Test Method for Sediment in

Crude Oil by Membrane Filtration

SAFETY STATEMENT

This CBPL Method cannot fully address safety issues that may arise from its use.  The analyst is responsible for assessing potential safety issues associated with a given method at its point of use.

Before using this method, the analyst will consider all general laboratory safety precautions.  In particular, the analyst will identify and implement suitable health and safety measures and will comply with all pertinent regulations.

METHOD UNCERTAINTY

The uncertainty of measurement for this method is specific to each laboratory.

0.		SCOPE AND FIELD OF					APPLICATION

This method is applicable to commodities provided for in Chapter 27 of the Harmonized Tariff Schedule of the United States (HTSUS).  It covers the determination of sediment in crude oils by membrane filtration. The extracted residue is calculated in percent unit mass.  This method has been validated for crude oils with sediments up to about 0.15 percent mass.  This method is applicable for the determination of the amount of sediment in crude petroleum oils and fuel oils.  The amount of sediment in crude oil is deductible from the gross standard volume (GSV) to obtain the net standard volume (NSV).

1.		REFERENCE

### 1.1		ASTM D 4807.  “Standard Test Method for Sediment in Crude Oil by Membrane Filtration.”

END