U.S. CUSTOMS AND BORDER PROTECTION

LABORATORY METHODS

CBPL METHOD 27-08

NHM

ASTM D 86

Standard Test Method for Distillation of

Petroleum Products at Atmospheric Pressure

SAFETY STATEMENT

This CBPL Method cannot fully address safety issues that may arise from its use.  The analyst is responsible for assessing potential safety issues associated with a given method at its point of use.

Before using this method, the analyst will consider all general laboratory safety precautions.  In particular, the analyst will identify and implement suitable health and safety measures and will comply with all pertinent regulations.

METHOD UNCERTAINTY

The uncertainty of measurement for this method is specific to each laboratory.

0.		SCOPE AND FIELD OF					APPLICATION

This method covers the distillation of natural gasolines, aviation gasolines, aviation turbine fuels, special boiling point spirits, naphthas, white spirit, kerosenes, gas oils, distillate fuel oils, and similar petroleum products, utilizing either manual or automated distillation apparatus.  It is applicable to commodities of Chapter 27 of the Harmonized Tariff Schedule of the United States (HTSUS).  The HTSUS specifies this method under Subheading 2707.50 for the determination of the volume quantity (expressed in percent) that distills at 250oC in aromatic hydrocarbon mixtures.  The method is applicable for the determination of percent by volume of aromatic hydrocarbon mixtures in other oils and petroleum distillates that distill at 250 oC.  The distillation range of various petroleum distillate products is also determined by this method.

1.		REFERENCE

1.1		ASTM D 86.  “Standard Test Method for Distillation of Petroleum Products at Atmospheric Pressure.”

END