U.S. CUSTOMS AND BORDER PROTECTION

LABORATORY METHODS

CBPL METHOD 27-11

ASTM D 445

Standard Test Method for Kinematic Viscosity of Transparent

and Opaque Liquids (and Calculation of Dynamic Viscosity)

SAFETY STATEMENT

This CBPL Method cannot fully address safety issues that may arise from its use.  The analyst is responsible for assessing potential safety issues associated with a given method at its point of use.

Before using this method, the analyst will consider all general laboratory safety precautions.  In particular, the analyst will identify and implement suitable health and safety measures and will comply with all pertinent regulations.

METHOD UNCERTAINTY

The uncertainty of measurement for this method is specific to each laboratory.

0.		SCOPE AND FIELD OF 					APPLICATION

Various petroleum distillate products and fuel oils (including blended fuel oils ) are characterized by their viscosity.  Fuel oil viscosity also determines its use.

This method is suitable for analysis of certain commodities provided for in Chapter 27 of the Harmonized Tariff Schedule of the United States (HTSUS).  Petroleum distillates and residual fuel oils are classifiable in the HTSUS according to their viscosity expressed in Saybolt Universal Seconds at 37.8  oC.

The method involves determining the kinematic viscosity, v, of liquid petroleum products, both transparent and opaque, by measuring the time for a volume of liquid to flow under gravity through a calibrated glass capillary viscometer.  The dynamic viscosity, n, can be obtained by multiplying the measured kinematic viscosity by the density, p, of the liquid.  This method is applicable for the determination of the kinematic viscosity of transparent and opaque liquids such as various petroleum distillate products and fuel oils.

1.		REFERENCE

### 1.1		ASTM D 445.  “Standard Test Method for Kinematic Viscosity of Transparent and Opaque Liquids (and Calculation of Dynamic Viscosity).”

END