U.S. CUSTOMS AND BORDER PROTECTION

LABORATORY METHODS

CBPL METHOD 27-12

ASTM D 88

Standard Test Method for Saybolt Viscosity

SAFETY STATEMENT

This CBPL Method cannot fully address safety issues that may arise from its use.  The analyst is responsible for assessing potential safety issues associated with a given method at its point of use.

Before using this method, the analyst will consider all general laboratory safety precautions.  In particular, the analyst will identify and implement suitable health and safety measures and will comply with all pertinent regulations.

METHOD UNCERTAINTY

The uncertainty of measurement for this method is specific to each laboratory.

0.		SCOPE AND FIELD OF					APPLICATION

Various petroleum distillate products and fuel oils (including blended fuel oils) are characterized by their viscosity.  Petroleum distillates and residual fuel oils are classifiable in Chapter 27 of the Harmonized Tariff Schedule of the United States (HTSUS) according to their viscosity expressed in Saybolt Universal seconds at 37.8 oC.  The viscosity of fuel oils also determines its use.  This method is applicable for the determination of Saybolt Universal or Saybolt Furol viscosities of petroleum products and fuel oils.

The method describes the empirical procedures for determining the Saybolt Universal or Saybolt Furol viscosity of petroleum products at specified temperatures between 21 and 99 oC (70 and 210 oF).  The Saybolt Furol is recommended for fuel oils having Saybolt Universal viscosities greater than 1000s.

1.		REFERENCE

1.1		ASTM D 88.  “Standard Test Method for Saybolt Viscosity.”

END