U.S. CUSTOMS AND BORDER PROTECTION

LABORATORY METHODS

CBPL METHOD 27-14

ASTM D 2622

Standard Test Method for Sulfur in Petroleum Products by

Wavelength Dispersive X-ray Fluorescence Spectrometry

SAFETY STATEMENT

This CBPL Method cannot fully address safety issues that may arise from its use.  The analyst is responsible for assessing potential safety issues associated with a given method at its point of use.

Before using this method, the analyst will consider all general laboratory safety precautions.  In particular, the analyst will identify and implement suitable health and safety measures and will comply with all pertinent regulations.

METHOD UNCERTAINTY

The uncertainty of measurement for this method is specific to each laboratory.

0.		SCOPE AND FIELD OF					APPLICATION

This method covers the determination of the total sulfur in liquid petroleum products or petroleum products that can be liquefied with slight heating.  This method should be used under these conditions:  petroleum crude oil, paraffinic sample, and sulfur concentrations not to exceed 0.0010 percent by mass.  The method is applicable to commodities provided for in Chapter 27 of the Harmonized Tariff Schedule of the United States (HTSUS).

1.		REFERENCE

1.1		ASTM D 2622.  “Standard Test Method for Sulfur in Petroleum Products by Wavelength Dispersive X-ray Fluorescence Spectrometry.”

END