U.S. CUSTOMS AND BORDER PROTECTION

LABORATORY METHODS

CBPL METHOD 27-19

ASTM D 3439

Standard Test Methods for Assay of Alkaline

Cresylate Solutions from Petroleum Sources

SAFETY STATEMENT

This CBPL Method cannot fully address safety issues that may arise from its use.  The analyst is responsible for assessing potential safety issues associated with a given method at its point of use.

Before using this method, the analyst will consider all general laboratory safety precautions.  In particular, the analyst will identify and implement suitable health and safety measures and will comply with all pertinent regulations.

METHOD UNCERTAINTY

The uncertainty of measurement for this method is specific to each laboratory.

0.		SCOPE AND FIELD OF 					APPLICATION

The method is applicable to commodities provided for in Chapter 27 of the Harmonized Tariff Schedule of the United States (HTSUS).  It covers the neutralization, separation, and identification of the various constituents of the sodium cresylate salts.  These commodities normally are produced as a waste by-product from certain petroleum refinery waste streams that are treated with caustic.  This procedure analyzes the water, sulfur, neutral oil, and a certain distillate fraction of the waste commodity.  This assay will allow the analyst to define such a commodity for the HTSUS.

1.		REFERENCE

1.1		ASTM D 3439.  “Standard Test Methods for Assay of Alkaline Cresylate Solutions from Petroleum Sources.”

END