U.S. CUSTOMS AND BORDER PROTECTION

LABORATORY METHODS

CBPL METHOD 27-33

ASTM D 5

Standard Test Method for Penetration of Bituminous Materials

SAFETY STATEMENT

This CBPL Method cannot fully address safety issues that may arise from its use.  The analyst is responsible for assessing potential safety issues associated with a given method at its point of use.

Before using this method, the analyst will consider all general laboratory safety precautions.  In particular, the analyst will identify and implement suitable health and safety measures and will comply with all pertinent regulations.

METHOD UNCERTAINTY

The uncertainty of measurement for this method is specific to each laboratory.

0.		SCOPE AND FIELD OF					APPLICATION

0.1	This method covers determination of the penetration of semi-solid and solid bituminous material.

1.2	The method covers bituminous material provided for in Chapter 27, Headings 2713, 2714, and 2715, of the Harmonized Tariff Schedule of the United States (HTSUS).

1.		REFERENCE

1.1		ASTM D 5.  “Standard Test Method for Penetration of Bituminous Materials.”

END