U.S. CUSTOMS AND BORDER PROTECTION

LABORATORY METHODS

CBPL METHOD 27-37

ASTM E 137

Standard Practice for Evaluation of Mass

Spectrometers for Quantitative Analysis from a Batch Inlet

SAFETY STATEMENT

This CBPL Method cannot fully address safety issues that may arise from its use.  The analyst is responsible for assessing potential safety issues associated with a given method at its point of use.

Before using this method, the analyst will consider all general laboratory safety precautions.  In particular, the analyst will identify and implement suitable health and safety measures and will comply with all pertinent regulations.

METHOD UNCERTAINTY

The uncertainty of measurement for this method is specific to each laboratory.

0.		SCOPE AND FIELD OF					APPLICATION

The title of this method is also the scope of this method.  It is useful for determining the suitability of a particular mass spectrometer for the purpose of analyzing organic compounds quantitatively from a batch inlet.  This method may be applicable to commodities provided for in Chapter 27 of the Harmonized Tariff Schedule of the United States (HTSUS).

1.		REFERENCE

1.1		ASTM E 137.  “Standard Practice for Evaluation of Mass Spectrometers for Quantitative Analysis from a Batch Inlet.”

END