U.S. CUSTOMS AND BORDER PROTECTION

LABORATORY METHODS

CBPL METHOD 27-48

ASTM D 4052

Standard Test Method for Density and

Relative Density of Liquids by Digital Density Meter

SAFETY STATEMENT

This CBPL Method cannot fully address safety issues that may arise from its use.  The analyst is responsible for assessing potential safety issues associated with a given method at its point of use.

Before using this method, the analyst will consider all general laboratory safety precautions.  In particular, the analyst will identify and implement suitable health and safety measures and will comply with all pertinent regulations.

METHOD UNCERTAINTY

The uncertainty of measurement for this method is specific to each laboratory.

0.		SCOPE AND FIELD OF 					APPLICATION

This method involves the use of the Oscillating U-tube apparatus to determine the density of petroleum oils and distillates or of other viscous oils provided for in Chapter 27 of the Harmonized Tariff Schedule of the United States (HTSUS).  The method is limited to liquids that are light in color and that can be handled normally between 15 and 35 °C, having vapor pressures below 600 mm Hg (80 kPa) and viscosities below 15,000 cSt (mm2/s) at testing temperature.

- The resulting density readings can be converted to API readings at the HTSUS reference temperature of 60 °F, according to the tables outlined in ASTM D 1250 (1.2).

1.		REFERENCES

1.1		ASTM D 4052.  “Standard Test Method for Density and Relative Density of Liquids by Digital Density Meter.”

1.2		ASTM D 1250.  “Standard Guide for Petroleum Measurement Tables.”

2.		BIBLIOGRAPHY

This list is provided for general guidance and should not be considered exhaustive.  The user is expected to seek current references pertaining to this method.

2.1		CBPL 27-46/ASTM D 5002.  “Standard Test Method for Density and Relative Density of Crude Oils by Digital Density Analyzer.”

- END