U.S. CUSTOMS AND BORDER PROTECTION

LABORATORY METHODS

CBPL METHOD 27-52

USP/NF <891>

Thermal Analysis

SAFETY STATEMENT

This CBPL Method cannot fully address safety issues that may arise from its use.  The analyst is responsible for assessing potential safety issues associated with a given method at its point of use.

Before using this method, the analyst will consider all general laboratory safety precautions.  In particular, the analyst will identify and implement suitable health and safety measures and will comply with all pertinent regulations.

METHOD UNCERTAINTY

The uncertainty of measurement for this method is specific to each laboratory.

0.		SCOPE AND FIELD OF 					APPLICATION

This method describes the theory, principles, and applications of diverse types of thermal analysis, including thermogravimetric analysis (TGA), differential scanning calorimetry (DSC), and differential thermal analysis (DTA).

This procedure is applicable to petroleum products, such as coal, coke, and bituminous materials, classifiable in Chapter 27 of the Harmonized Tariff Schedule of the United States (HTSUS).

1.		REFERENCE

1.1		USP/NF <891>.  “Thermal Analysis.”

END