U.S. CUSTOMS AND BORDER PROTECTION

LABORATORY METHODS

CBPL METHOD 27-54

ASTM D 1796

Standard Test Method for Water and Sediment in Fuel

Oils by the Centrifuge Method (Laboratory Procedure)

SAFETY STATEMENT

This CBPL Method cannot fully address safety issues that may arise from its use.  The analyst is responsible for assessing potential safety issues associated with a given method at its point of use.

Before using this method, the analyst will consider all general laboratory safety precautions.  In particular, the analyst will identify and implement suitable health and safety measures and will comply with all pertinent regulations.

METHOD UNCERTAINTY

The uncertainty of measurement for this method is specific to each laboratory.

0.		SCOPE AND FIELD OF 					APPLICATION

This is the centrifuge method for determining percent by volume water and sediment in fuel oils.  The method is applicable over the range of zero to 30 percent by volume of water and sediment.  This method is useful for the characterization of petroleum products, which are classifiable in Chapter 27 of the Harmonized Tariff Schedule of the United States (HTSUS).

When a highly accurate value is required, the revised procedures for water by distillation, 1.2, and sediment by extraction, 1.3, must be used.

1.		REFERENCES

1.1		ASTM D 1796.  “Standard Test Method for Water and Sediment in Fuel Oils by the Centrifuge Method (Laboratory Procedure)."

1.2		CBPL 27-03/ASTM D 4006.  “Standard Test Method for Water in Crude Oil by Distillation,” Note 1.

1.3		CBPL 27-06/ASTM D 473.  “Standard Test Method for Sediment in Crude Oils and Fuel Oils by the Extraction Method.”

END