U.S. CUSTOMS AND BORDER PROTECTION

LABORATORY METHODS

CBPL METHOD 27-55

ASTM D 5142

Standard Test Methods for Proximate Analysis of the

Analysis Sample of Coal and Coke by Instrumental Procedures

SAFETY STATEMENT

This CBPL Method cannot fully address safety issues that may arise from its use.  The analyst is responsible for assessing potential safety issues associated with a given method at its point of use.

Before using this method, the analyst will consider all general laboratory safety precautions.  In particular, the analyst will identify and implement suitable health and safety measures and will comply with all pertinent regulations.

METHOD UNCERTAINTY

The uncertainty of measurement for this method is specific to each laboratory.

0.		SCOPE AND FIELD OF 					APPLICATION

This procedure is applicable to petroleum products, such as coal, coke, and bituminous materials, classifiable in Chapter 27 of the Harmonized Tariff Schedule of the United States (HTSUS).

This method covers the determination of physical properties in coal, coke, and related coal and coke materials using thermal gravimetric analysis (TGA).

This procedure enables the determination of percent moisture, percent volatile matter, percent ash, and percent fixed carbon.  These properties enable the identification of materials as either coal or coke and, within the category of coal, the determination of the coal, i.e., anthracite or bituminous coal.

1.		REFERENCES

1.1		ASTM D 5142.  “Standard Test Methods for Proximate Analysis of the Analysis Sample of Coal and Coke by Instrumental Procedures.”

1.2		CBPL 27-52/USP 891.  “Thermal Analysis.”

END