U.S. CUSTOMS AND BORDER PROTECTION

LABORATORY METHODS

CBPL METHOD 27-56

ASTM D 7042

Standard Test Method for Dynamic Viscosity and Density of Liquids by Stabinger Viscometer (and the Calculation of Kinematic Viscosity)

SAFETY STATEMENT

This CBPL Method cannot fully address safety issues that may arise from its use.  The analyst is responsible for assessing potential safety issues associated with a given method at its point of use.

Before using this method, the analyst will consider all general laboratory safety precautions.  In particular, the analyst will identify and implement suitable health and safety measures and will comply with all pertinent regulations.

METHOD UNCERTAINTY

The uncertainty of measurement for this method is specific to each laboratory.

0.		SCOPE AND FIELD OF 					APPLICATION

This procedure is applicable to liquid petroleum products and crude oils, both transparent and opaque, classifiable in Chapter 27 of the Harmonized Tariff Schedule of the United States (HTSUS).

This method specifies a procedure for the concurrent measurement of both the dynamic viscosity, n, and the density, p, of liquid petroleum products and crude oils, both transparent and opaque.

This procedure enables the determination of dynamic viscosity, density, and by calculation, kinematic viscosity.  These properties provide assistance in the identification and classification of petroleum products and crude oils.

1.		REFERENCE

1.1		ASTM D 7042.  “Standard Test Method for Dynamic Viscosity and Density of Liquids by Stabinger Viscometer (and the Calculation of Kinematic Viscosity).”

END