U.S. CUSTOMS AND BORDER PROTECTION

LABORATORY METHODS

CBPL METHOD 27-57

ASTM D 7039

Standard Test Method for Sulfur in Gasoline and Diesel Fuel

by Monochromatic Wavelength Dispersive

X-ray Fluorescence Spectrometry

SAFETY STATEMENT

This CBPL Method cannot fully address safety issues that may arise from its use.  The analyst is responsible for assessing potential safety issues associated with a given method at its point of use.

Before using this method, the analyst will consider all general laboratory safety precautions.  In particular, the analyst will identify and implement suitable health and safety measures and will comply with all pertinent regulations.

METHOD UNCERTAINTY

The uncertainty of measurement for this method is specific to each laboratory.

0.		SCOPE AND FIELD OF					APPLICATION

This method covers the determination of total sulfur in single-phase gasolines, diesel fuels, and refinery process streams used to blend gasolines and diesels, at concentrations from 2 mg/kg to 500 mg/kg. The method is based on monochromatic wavelength-dispersive X-ray fluorescence (MWDXRF) spectrometry.

The method is applicable to commodities provided for in Chapter 27 of the Harmonized Tariff Schedule of the United States (HTSUS).

1.		REFERENCE

1.1		ASTM D 7039.  “Standard Test Method for Sulfur in Gasoline and Diesel Fuel by Monochromatic Wavelength Dispersive X-Ray Fluorescence Spectrometry.”

END