- U.S. CUSTOMS AND BORDER PROTECTION

LABORATORY METHODS

CBPL METHOD 28-04

ASTM E 397

Standard Test Methods for Chemical Analysis of Tungsten

- SAFETY STATEMENT

This CBPL Method cannot fully address safety issues that may arise from its use.  The analyst is responsible for assessing potential safety issues associated with a given method at its point of use.

Before using this method, the analyst will consider all general laboratory safety precautions.  In particular, the analyst will identify and implement suitable health and safety measures and will comply with all pertinent regulations.

- METHOD UNCERTAINTY

The uncertainty of measurement for this method is specific to each laboratory.

0.		SCOPE AND FIELD OF 					APPLICATION

This method is intended primarily for quantitative analysis and pertains to commodities provided for in Chapter 28 of the Harmonized Tariff Schedule of the United States (HTSUS).  The method contains procedures for complete separation by cinchonine precipitation.  The material is weighed as tungsten oxide.  While this method is intended primarily for the quantitative analysis of tungsten-bearing materials, a general procedure for ores and minerals is also included.

- 1.		REFERENCE

1.1		ASTM E 397.  “Standard Test Methods for Chemical Analysis of Tungsten.”

- END