U.S. CUSTOMS AND BORDER PROTECTION

LABORATORY METHODS

CBPL METHOD 28-18

ASTM D 3175

Standard Test Method for Volatile Matter

in the Analysis Sample of Coal and Coke

# SAFETY STATEMENT

This CBPL Method cannot fully address safety issues that may arise from its use.  The analyst is responsible for assessing potential safety issues associated with a given method at its point of use.

Before using this method, the analyst will consider all general laboratory safety precautions.  In particular, the analyst will identify and implement suitable health and safety measures and will comply with all pertinent regulations.

METHOD UNCERTAINTY

The uncertainty of measurement for this method is specific to each laboratory.

0.		SCOPE AND FIELD OF 					APPLICATION

This method describes the procedure for determining the volatile matter content (excluding moisture) of coal and coke.  It also applies to the determination of volatile matter content in carbon and carbon black listed under heading 2803 of the Harmonized Tariff Schedule of the United States (HTSUS).

1.		REFERENCE

1.1		ASTM D 3175.  “Standard Test Method for Volatile Matter in the Analysis Sample of Coal and Coke.”

## END