U.S. CUSTOMS AND BORDER PROTECTION

LABORATORY METHODS

# CBPL 28-22

# ASTM D 891

# Standard Test Methods for Specific Gravity,

# Apparent, of Liquid Industrial Chemicals

SAFETY STATEMENT

This CBPL Method cannot fully address safety issues that may arise from its use.  The analyst is responsible for assessing potential safety issues associated with a given method at its point of use.

Before using this method, the analyst will consider all general laboratory safety precautions.  In particular, the analyst will identify and implement suitable health and safety measures and will comply with all pertinent regulations.

METHOD UNCERTAINTY

The uncertainty of measurement for this method is specific to each laboratory.

## 0.		SCOPE AND FIELD OF 				APPLICATION

This method is recommended for the determination of density of mineral acids and other liquids provided for in Chapter 28 of the Harmonized Tariff Schedule of the United States (HTSUS), and specifically for the purposes of headings 2806, 2807, 2808, 2809, and 2811.  It does not apply to density and relative density (specific gravity) of hydrofluoric acid (HF).

It is recommended that general density testing precautions and a prescribed method of calculating density be followed.  ASTM E 542, “Standard Practice for Calibration of Laboratory Volumetric Apparatus,” (2.4) may be used as a guide.

1.		REFERENCE

1.1		ASTM D 891.  “Standard Test Methods for Specific Gravity, Apparent, of Liquid Industrial Chemicals.”

2.		BIBLIOGRAPHY

This list is provided for general guidance and should not be considered exhaustive.  The user is expected to seek current references pertaining to this method.

2.1		ASTM D 4052.  “Test Method for Density and Relative Density (Specific Gravity) of Liquids by Digital Density Meter.”

2.2		ASTM E 223.  “Standard Test for Analysis of Sulfuric Acid.”

2.3		ASTM E 224.  “Standard Test Methods for Analysis of Hydrochloric Acid.”

2.4		ASTM E 542.  “Standard Practice for Calibration of Laboratory Volumetric Apparatus.”

END