U.S. CUSTOMS AND BORDER PROTECTION

LABORATORY METHODS

CBPL METHOD 29-02

ASTM D 3798

Standard Test Method for Analysis of

p-Xylene by Gas Chromatography

SAFETY STATEMENT

This CBPL Method cannot fully address safety issues that may arise from its use.  The analyst is responsible for assessing potential safety issues associated with a given method at its point of use.

Before using this method, the analyst will consider all general laboratory safety precautions.  In particular, the analyst will identify and implement suitable health and safety measures and will comply with all pertinent regulations.

METHOD UNCERTAINTY

The uncertainty of measurement for this method is specific to each laboratory.

0.		SCOPE AND FIELD OF 					APPLICATION

This method contains a procedure for determining the purity of p-xylene by gas chromatography using capillary columns.  Its use is limited to samples having greater than 98 percent purity; therefore, it can be used only for classifying examples of high-purity p-xylene provided for in Chapter 29 of the Harmonized Tariff Schedule of the United States (HTSUS), Subheading 2902.43.

1		REFERENCE

1.1		ASTM D 3798.  “Standard Test Method for Analysis of p-Xylene by Gas Chromatography.”

END