U.S. CUSTOMS AND BORDER PROTECTION

LABORATORY METHODS

CBPL METHOD 29-04

ASTM D 3457

Standard Test Method for Preparation of

Methyl Esters from Fatty Acids for Determination

of Fatty Acid Composition by Gas-Liquid Chromatography

SAFETY STATEMENT

This CBPL Method cannot fully address safety issues that may arise from its use.  The analyst is responsible for assessing potential safety issues associated with a given method at its point of use.

Before using this method, the analyst will consider all general laboratory safety precautions.  In particular, the analyst will identify and implement suitable health and safety measures and will comply with all pertinent regulations.

METHOD UNCERTAINTY

The uncertainty of measurement for this method is specific to each laboratory.

0.		SCOPE AND FIELD OF 					APPLICATION

This method covers a procedure for conversion of animal and vegetable fatty acids into methyl esters suitable for analysis by gas chromatography.  It is based on the esterification of fatty acids with methanol using boron trifluoride as catalyst.  The methyl esters are extracted with ethyl ether and recovered by evaporation of the ether.  This method is suitable for use with fatty acids having 8 to 24 carbon atoms, as provided for in Chapter 29 of the Harmonized Tariff Schedule of the United States (HTSUS).

1.		REFERENCE

1.1		ASTM D 3457. “Standard Test Method for Preparation of Methyl Esters from Fatty Acids for Determination of Fatty Acid Composition by Gas-Liquid Chromatography.”

END