U.S. CUSTOMS AND BORDER PROTECTION

LABORATORY METHODS

CBPL METHOD 29-05

ASTM E 324

Standard Test Method for Relative Initial and Final Melting

Points and the Melting Range of Organic Chemicals

SAFETY STATEMENT

This CBPL Method cannot fully address safety issues that may arise from its use.  The analyst is responsible for assessing potential safety issues associated with a given method at its point of use.

Before using this method, the analyst will consider all general laboratory safety precautions.  In particular, the analyst will identify and implement suitable health and safety measures and will comply with all pertinent regulations.

METHOD UNCERTAINTY

The uncertainty of measurement for this method is specific to each laboratory.

0.		SCOPE AND FIELD OF 					APPLICATION

This method is applicable to goods provided for in Chapter 29 of the Harmonized Tariff Schedule of the United States (HTSUS).  The method uses the capillary tube method to determine the initial and final melting points and melting range of samples of organic chemicals, whose melting points without decomposition fall between 30 and 250 degrees Celsius.

This method applies to any pure crystalline substance that can be ground to pass a 125-micrometer mesh sieve so that it can be placed in a 1-millimeter diameter capillary tube.

1.		REFERENCE

1.1		ASTM E 324.  “Standard Test Method for Relative Initial and Final Melting Points and the Melting Range of Organic Chemicals.”

END