U.S. CUSTOMS AND BORDER PROTECTION

LABORATORY METHODS

CBPL METHOD 29-07

USP/NF <851>

Spectrophotometry and Light Scattering

SAFETY STATEMENT

This CBPL Method cannot fully address safety issues that may arise from its use.  The analyst is responsible for assessing potential safety issues associated with a given method at its point of use.

Before using this method, the analyst will consider all general laboratory safety precautions.  In particular, the analyst will identify and implement suitable health and safety measures and will comply with all pertinent regulations.

METHOD UNCERTAINTY

The uncertainty of measurement for this method is specific to each laboratory.

0.		SCOPE AND FIELD OF 					APPLICATION

This practice covers the general theory of spectral absorption and light scattering for the spectrophotometric methods of UV-Visible (Vis), IR, AA, fluorescence, turbidimetry, nephelometry, and Raman measurements.  Spectrophotometric methods are used in the various qualitative and quantitative analyses of commodities of Chapter 29 of the Harmonized Tariff Schedule of the United States (HTSUS).

1.		REFERENCE

1.1		USP/NF <851>.  “Spectrophotometry and Light Scattering.”

END