U.S. CUSTOMS AND BORDER PROTECTION

LABORATORY METHODS

CBPL METHOD 29-11

Method for Emission Spectrochemical Analysis

SAFETY STATEMENT

This CBPL Method cannot fully address safety issues that may arise from its use.  The analyst is responsible for assessing potential safety issues associated with a given method at its point of use.

Before using this method, the analyst will consider all general laboratory safety precautions.  In particular, the analyst will identify and implement suitable health and safety measures and will comply with all pertinent regulations.

METHOD UNCERTAINTY

The uncertainty of measurement for this method is specific to each laboratory.

0.		SCOPE AND FIELD OF 					APPLICATION

This method may be useful for analysis of commodities provided for in Chapter 29 of the Harmonized Tariff Schedule of the United States (HTSUS).  Optical emission spectroscopic analysis of inorganic materials found in organic samples will follow the method outlined in 1.1.  Routine work would not emphasize the semi-quantitative aspects of the method.

1.		REFERENCE

1.1		Smith, R.W. and S.P. Mattarella.   “Suggested Method for Spectrochemical Analysis of Unknown Materials by the Powder D-C Arc Semiquantitative Technique” [ASTM E-2 SM 11-2], in Methods for Emission Spectrochemical Analysis, Fifth Edition.  ASTM Committee E-2 on Emission Spectroscopy. ASTM International (formerly American Society for Testing and Materials).  1968.

END