U.S. CUSTOMS AND BORDER PROTECTION

LABORATORY METHODS

CBPL METHOD 30-01

USP/NF <731>

Loss on Drying

SAFETY STATEMENT

This CBPL Method cannot fully address safety issues that may arise from its use.  The analyst is responsible for assessing potential safety issues associated with a given method at its point of use.

Before using this method, the analyst will consider all general laboratory safety precautions.  In particular, the analyst will identify and implement suitable health and safety measures and will comply with all pertinent regulations.

METHOD UNCERTAINTY

The uncertainty of measurement for this method is specific to each laboratory.

0.		SCOPE AND FIELD OF 					APPLICATION

The following reference is a procedure for the determination of the weight of volatile matter lost after drying.  It should prove useful in the analysis of mixtures with organic solvents provided for in Chapter 30 of the Harmonized Tariff Schedule of the United States (HTSUS).  The remaining material may be used for further analysis.

1.		REFERENCE

1.1		USP/NF <731>.  “Loss on Drying.”

END