U.S. CUSTOMS AND BORDER PROTECTION

LABORATORY METHODS

CBPL METHOD 30-02

USP/NF <733>

Loss on Ignition

SAFETY STATEMENT

This CBPL Method cannot fully address safety issues that may arise from its use.  The analyst is responsible for assessing potential safety issues associated with a given method at its point of use.

Before using this method, the analyst will consider all general laboratory safety precautions.  In particular, the analyst will identify and implement suitable health and safety measures and will comply with all pertinent regulations.

METHOD UNCERTAINTY

The uncertainty of measurement for this method is specific to each laboratory.

0.		SCOPE AND FIELD OF 					APPLICATION

The following reference is a procedure for the determination of the percentage of organic matter lost after ignition.  It should prove useful in the analysis of organic-inorganic mixtures or articles provided for in Chapter 30 of the Harmonized Tariff Schedule of the United States (HTSUS).  The remaining material resulting from ignition may be used in further analysis.  Note that the residual material may oxidize or undergo other reactions.

1.		REFERENCE

1.1		USP/NF <733>.  “Loss on Ignition.”

END