U.S. CUSTOMS AND BORDER PROTECTION

LABORATORY METHODS

CBPL Method 32-01

Recommended Guidelines for the

Analysis of Synthetic Coloring Matter

SAFETY STATEMENT

This CBPL Method cannot fully address safety issues that may arise from its use.  The analyst is responsible for assessing potential safety issues associated with a given method at its point of use.

Before using this method, the analyst will consider all general laboratory safety precautions.  In particular, the analyst will identify and implement suitable health and safety measures and will comply with all pertinent regulations.

METHOD UNCERTAINTY

The uncertainty of measurement for this method is specific to each laboratory.

0.		SCOPE AND FIELD OF 					APPLICATION

The following list of references contains procedures that should prove useful in the analysis of the products of Chapter 32 of the Harmonized Tariff Schedule of the United States (HTSUS).

1.		REFERENCES

This list is provided for general guidance and should not be considered exhaustive.  The user is expected to seek current references pertaining to this method.

The paper written by A. Goetz (1.6) explains how qualitative UV/VIS spectrophotometry is practiced in the analysis of dyes.

1.1		Brezinski, D.R. (Editor).  An Infrared Spectroscopy Atlas for the Coatings Industry.  Federation of Societies for Coating Technology.  Blue Bell, PA.  1991.

1.2		Colour Index, Third Edition (in five volumes).  The Society of Dyers and Colourists.  Yorkshire, England.  1971.

1.3		Dellian, K.A. and Tellis, R. E.  “Dyes,” in Encyclopedia of Industrial Chemical Analysis (Vol. 12).  F.D. Snell and L.S. Ettre (Editors).  Interscience.  New York.  1971.  Pp. 1-22.

1.4		Dye and Pigment Spectra  (in two volumes).  New York Customs Laboratory.  Revised 1998.

1.5		Feigel, F. and Anger, V.  Spot Test in Organic Analysis.  Elsevier.  Amsterdam.  1966.

1.6		Goetz, A.  “Procedures for Identifying Dyes and Pigments,” in Textile Chemist and Colorist.  17(9).  1985.  Pp. 171-176.

This paper contains a qualitative UV/VIS spectrophotometer method as well as a very useful solubility decision tree for determining the class of a dye.

1.7		Green, Floyd J.  The Sigma-Aldrich Handbook of Stains, Dyes and Indicators.  Aldrich Chemical Company, Inc.  Milwaukee, Wisconsin.  1990.

1.8		Haslam, J., Willis, H.A., and Squirrell, D.C.M.  Identification and Analysis of Plastics (Second Edition).  Butterworths.  London.  1972.

1.9		Hummel, D.O. and Scholl, F.  Atlas of Polymer and Plastics Analysis, Second Edition.  Hanser.  Munich.  1981.

1.10		Shreve, O.D.  “Analysis of Paint Vehicles and Related Materials,” in Handbook of Analytical Chemistry.  L. Meites (Editor)  McGraw-Hill.  New York.  1963.  Pp. 13-157.

1.11		Shriner, R.L., Fuson, R.C., Curtin, D.Y., and Morrill, T.C.  The Systematic Identification of Organic Compounds (Sixth Edition).  John Wiley & Sons.  New York.  1980.

1.12		Shugar, G.J. and Ballinger,J.T.  Chemical Technicians' Ready Reference Handbook (Third Edition).  McGraw-Hill.  New York.  1990.

1.13		Silverstein, R.M., Bassler, G.C., and Morrill, T.C.  Spectrometric Identification of Organic Compounds (Fifth Edition).  John Wiley & Sons.  New York, 1991.

1.14		Stahl, Eon (Editor).  Thin-Layer Chromatography (Second Edition).  Springer – Verlag.  Berlin - Heidelberg - New York.  1969.  Pp. 612-626.  A section of this book covers synthetic coloring materials.

1.15		Sward, G.G. (Editor).  Paint Testing Manual (Thirteenth Edition).  ASTM Special Technical Publication 500.  American Society for Testing and Materials.  Philadelphia.  1972.

1.16		Venkataraman, K. (Editor).  The Analytical Chemistry of Synthetic Dyes.  Wiley-Interscience.  New York.  1977.

END